## Slide 1: Design and implementation of Convolutional Neural Networks for Low-Dose CT Image Noise Reduction
Thesis presentation by,
Seyyedomid Badretale
Supervisor:
Dr. J. Alirezaie

## Slide 2: Outlines
Contributions
X-ray Computed Tomography (CT) overview
Problem definition
Overview of CT denoising methods
Methodology
Experimental Results
Summary and Conclusion

## Slide 3: Contributions
Two CNN architectures are presented to remove noise from low-dose CT images.
First network is inspired by the dictionary learning methods and a function is assigned for each layer based on this correlation.
An efficient network is presented by improving the first architecture in terms of speed and the performance.
Important parameters for each network are investigated to find the best performance.
The models are tested and the results are compared to the state-of-the-arts methods.

## Slide 4: X-Ray Computed Tomography (CT) Imaging
Widely used diagnostic device
Can reveal bones as well as soft tissues.
Cross-sectional images
Produce 3D images
X-rays are ionizing beams
  Harmful to tissues (DNA)
  Higher cancer risk
Fundamentals of CT imaging [1]
Notes: Background and the definition of X-Ray CT imaging
  The main source of noise in X-ray projection data is the statistical fluctuations of X-ray quanta reaching the detectors.
  This noise follows the Poisson distribution.
  However, after the application of reconstruction algorithms and image processing steps to the projection data, the distribution of the noise in the resulting CT image is unknown and therefore is hard to model.
Problem statement and the importance of low-dose CT

## Slide 5: Radiation Dose and Image Quality
low mAs → few photons detected → more noise
  (low-dose) (Photon starvation) (low SNR)
60 mA
440 mA
Computed tomography artifacts [2]

## Slide 6: Related Works
Literature Review
  Denoising applied to sinogram (projection data) [3]
    Effective, but Not readily available and accessible.
  Denoising applied to the reconstructed image.
    Wavelet [4]
    Total Variation [5]
    Dictionary Learning and Sparse Representation [6,7]
Deep learning
  Wikipedia: Machine learning […] gives “computers the ability to learn without being explicitly programmed.”
  Ingredients: smart algorithms, lots of examples (data), lots of computational power.

## Slide 7: CNN in Medical applications
DICOM images
  16-bits images
  Image and info
  Wide range of intensity
Medical noise vs Natural noise
  Statistical property of low-dose CT images: Methods, such as median filtering, Gaussian filtering
Filter size
  Too small : Less structural information
  Too large : huge computational complexity and less size of the dataset, smoothing

## Slide 8: Contributions
Two CNN architectures are presented to remove noise from low-dose CT images.
First network is inspired by the dictionary learning methods and a function is assigned for each layer based on this correlation.
An efficient network is presented by improving the first architecture in terms of speed and the performance.
Important parameters for each network are investigated to find the best performance.
The model is tested and the results are compared to the state-of-the-arts methods.

## Slide 9: Proposed Low-dose CT CNN (LDCNN)

## Slide 10: from Dictionary learning to LDCNN
Extracting low-dose patches and project onto a low-dose dictionary
Iteratively processing low-dose coefficients in order to create the normal-dose coefficients
Projecting the normal-dose coefficients onto the normal-dose dictionary and averaging the overlapping patches

## Slide 11: LDCNN Structure

## Slide 12: LDCNN Structure

## Slide 13: LDCNN Structure

## Slide 14: Activation Functions

## Slide 15: Properties of the LDCNN
End-to-end mapping between the low-dose and normal-dose CT images
Fully feed-forward network, it is unnecessary to solve the optimization problem.
Trained hierarchically structured feature maps from low-level (blobs, edges, etc.) to high-level (more complex and detailed shapes) Transfer learning
Concise structure, but provides superior accuracy compared to state-of-the-art methods.

## Slide 16: Network parameters and Efficiency
Number of layers

## Slide 17: Network parameters and Efficiency
PSNR (dB) | RMSE | Parameters | PSNR (dB) | RMSE | Parameters | PSNR (dB) | RMSE | Parameters
32.14 | 0.16 |  | 32.11 | 0.19 |  | 32.01 | 0.27 | 
Number of feature maps

## Slide 18: Network parameters and Efficiency
Filter size

## Slide 19: Contributions
Two CNN architectures are presented to remove noise from low-dose CT images.
First network is inspired by the dictionary learning methods and a function is assigned for each layer based on this correlation.
An efficient network is presented by improving the first architecture in terms of speed and the performance.
Important parameters for each network are investigated to find the best performance.
The model is tested and the results are compared to the state-of-the-arts methods.

## Slide 20: from the LDCNN to Deep-LDCNN

## Slide 21: from the LDCNN to Deep-LDCNN

## Slide 22: from the LDCNN to Deep-LDCNN

## Slide 23: from the sparse-LDCNN to Deep-LDCNN
  Apply layer to reduce the computational cost (pooling layer)
Compressing layer
  Adopt a wider mapping layer with the lower size of the feature maps .
  Capture the non-linear property of the noise
Mapping layer
  Inverse process of the compressing layer
Enlarging layer

## Slide 24: from the LDCNN to Deep-LDCNN

## Slide 25: from the sparse-LDCNN to Deep-LDCNN
Reassembling layer
Reduce the size of the feature maps to enhance the sharpness

## Slide 26: Parametric ReLU
ReLU
Zero gradient whenever the unit is not active.
Slow down the training process due to the constant zero gradients.
learned parameter

## Slide 27: Network parameters and Efficiency
Sensitive parameters
Number of feature maps in the feature extraction layer ()
Number of mapping layers ()
Number of feature maps in the compressing layer ()
Symmetric
Size of the feature maps in the mapping layers
Compressing and Enlarging layers

## Slide 28: Network parameters and Efficiency

## Slide 29: Implementation Details
Normalizing images and Extracting patches from CT images using the stride and patch size and create 4-D Hierarchical Data Format (HDF) file
Caffe implementation :Defining the layer parameters such as the number of layers, number of filters, kernel size, loss layer. Also the network parameters such as learning rate, momentum, number of iterations.
Importing the network structures from Caffe to Matlab and saving the parameters
Applying test images and evaluation metrics

## Slide 30: CT Datasets
  Anthropomorphic thoracic phantom
    407 normal-dose (200mAs) and corresponding low-dose (25mAs) CT images.
    Focused on the lung nodules with different characteristics (size, density, shape, location)
  CATPHAN600 phantom
    584 normal-dose (210mAs) and corresponding low-dose (60mAs) CT images.
    Involves line pairs of different spacing and spheres with varying contrast and is used for evaluating spatial resolutions.
  Piglet dataset
    906 normal-dose (300mAs) and corresponding low-dose (73,30, 15mAs) CT images.

## Slide 31: CT Datasets
Datasets Properties:
DICOM Images
Randomly Shuffled data
Training, validation, and test set involves 50%, 25%, and 25% of each dataset respectively.

## Slide 32: Results- LDCNN
Metrics | Proposed Algorithm | SSC-GSM | BM3D
PSNR | 32.112 | 28.754 | 28.298
SSIM | 0.834 | 0.786 | 0.736
RMSE | 0.248 | 0.365 | 0.385
Metrics | Proposed Algorithm | SSC-GSM | BM3D
PSNR | 41.234 | 38.967 | 38.578
SSIM | 0.941 | 0.913 | 0.919
RMSE | 0.008 | 0.011 | 0.011
Thoracic dataset
CATPHAN 600 phantom

## Slide 33: CATPHAN 600- LDCNN
left to right: Low-dose, Normal-dose, LDCNN, BM3D method [8], SSC-GSM [9]

## Slide 34: CATPHAN 600 - LDCNN
left to right: Low-dose, Normal-dose, LDCNN, BM3D method, SSC-GSM.

## Slide 35: Thoracic- LDCNN
left to right: Low-dose, Normal-dose, LDCNN, BM3D method, SSC-GSM.

## Slide 36: Thoracic- LDCNN
left to right: Low-dose, Normal-dose, LDCNN, BM3D method, SSC-GSM.

## Slide 37: Evaluation Metrics
Quality Assessments
  Peak signal-to-noise ratio (PSNR)
  Root mean squared error (RMSE)
  Structural Similarity (SSIM)
  Multi-scale SSIM (MSSIM)
  Universal quality index (UQI)
  Weighted signal-to-noise ratio (WSNR)
  Visual information fidelity (VIF)
  Noise quality measure (NQM)
  information fidelity criterion (IFC)

## Slide 38: Evaluation Metrics
UQI
  luminance, contrast, and structural comparisons
WSNR (dB)
  Contrast sensitivity functions (CSF) are used as weights.
VIF
  The amount of information shared between the source and the distorted image.
NQM (dB)
  Considers variation in contrast sensitivity with distance, image dimensions and spatial frequency.
IFC
  The mutual information is derived for one sub-band and then generalized for multiple sub-bands.

## Slide 39: CATPHAN 600- Deep-LDCNN

## Slide 40: CATPHAN 600- Deep-LDCNN
left to right: Low-dose, Normal-dose, Deep- LDCNN, BM3D method, SSC-GSM method, TV-MCA method [10], LDCNN, Chen CNN [11].

## Slide 41: Piglet- Deep-LDCNN

## Slide 42: Piglet- Deep-LDCNN
left to right: Low-dose, Normal-dose, Deep- LDCNN, BM3D method, SSC-GSM method, TV-MCA method, LDCNN, Chen CNN.

## Slide 43: Thoracic- Deep-LDCNN

## Slide 44: Thoracic- Deep-LDCNN
left to right: Low-dose, Normal-dose, Deep- LDCNN, BM3D method, SSC-GSM method, TV-MCA method, LDCNN, Chen CNN.

## Slide 45: Simulated Dataset- Deep-LDCNN

## Slide 46: Summary and Conclusion
Demand for low-dose CT image denoising.
The CNN architecture inspired by the dictionary methods was presented.
The architecture, which was improved in terms of the speed and the performance was presented.
The parameters for each architecture were investigated to find the optimum results.
The performance outperformed other state-of-the-art methods.

## Slide 47: Contributions
Two CNN architectures are presented to remove noise from low-dose CT images.
First network is inspired by the dictionary learning methods and a function is assigned for each layer based on this correlation.
An efficient network is presented by improving the first architecture in terms of speed and the performance.
Important parameters for each network are investigated to find the best performance.
The model is tested and the results are compared to the state-of-the-arts methods.

## Slide 48: Future work
Hot research areas:
Deep learning is growing fast and advanced methods are proposing.
Deep residual framework.
Generative adversarial framework.
Block-matching framework.
Improving the contrast issue in DICOM.

## Slide 49: References
[1] A. C. Kak and M. Slaney, “Principles of Computerized Tomographic Imaging,” IEEE Press, vol. 4, no. Dec, pp. 1–2, 1988.
[2] F. E. Boas and D. Fleischmann, "Computed tomography artifacts: Causes and reduction techniques," Imaging in Medicine, vol. 4, no. 2, pp. 229-240, 2012.
[3] P. J. La Rivière, “Penalized-likelihood sinogram smoothing for low-dose CT,” Med. Phys., vol. 32, no. 6Part1, pp. 1676–1683, 2005.
[4] S. G. Chang, B. Yu, and M. Vetterli, “Adaptive wavelet thresholding for image denoising and compression,” IEEE Trans. Image Process., vol. 9, no. 9, pp. 1532–1546, 2000.
[5] L. I. Rudin, S. Osher, and E. Fatemi, “Nonlinear total variation based noise removal algorithms,” Phys. D Nonlinear Phenom., vol. 60, no. 1–4, pp. 259–268, 1992.
[6] S. Ghadrdan, J. Alirezaie, S. Member, J. Dillenseger, and P. Babyn. 2014. Low-dose Computed Tomography Image Denoising based on Joint Wavelet and Sparse representation. Engineering in Medicine and Biology Society (EMBC), 2014 36th Annual International Conference of the IEEE, 2014, 3325–3328.
[7] Priyam Chatterjee and Peyman Milanfar. 2009. Image denoising using locally learned dictionaries. Proceedings of SPIE 7246, 7: 72460V–72460V–10, 1438 - 1451
[8] A. Danielyan, V. Katkovnik, and K. Egiazarian, “BM3D Frames and Variational Image Deblurring”, IEEE Trans. Image Process., vol. 21, no. 4, pp. 1715-1728, April 2012.
[9] Weisheng Dong, Guangming Shi, Yi Ma, and Xin Li. 2015. Image Restoration via Simultaneous Sparse Coding: Where Structured Sparsity Meets Gaussian Scale Mixture. International Journal of Computer Vision 114, 2: 217-232.
[10] A. Khodabandeh, J. Alirezaie, P. Babyn, and A. Ahmadian, “Computed Tomography Image Denoising by Learning to Separate Morphological Diversity,” Telecommun. Signal Process. (TSP), 2015 38th Int. Conf., pp. 513–517, 2015.
[11] H. Chen, Y. Zhang, W. Zhang, P. Liao, K. Li, and J. Zhou, “LOW-DOSE CT DENOISING WITH CONVOLUTIONAL NEURAL NETWORK College of Computer Science , Sichuan University , Chengdu 610065 , China National Key Laboratory of Fundamental Science on Synthetic Vision , Sichuan University , Chengdu Department of Scientific Re,” pp. 2–5, 2017.

## Slide 50: Publications
S. Badretale, F. Shaker, J. Alirezaie, P. Babyn, “Fully Convolutional Architecture for Low-Dose CT Image Noise Reduction”, Accepted and Presented in International Conference on Artificial Intelligence Applications and Technologies, 2017, USA.
S. Badretale, F. Shaker, J. Alirezaie, P. Babyn, “Deep Convolutional approach for Low-Dose CT Image Noise Reduction”, Submitted to the ICBME 2017.

## Slide 51: Questions